## Station Inputs
| Title | Station level assumptions | [7 empty] | v1.0
Description | Station inputs
[7 empty] | MW (Sent out) | MW (Sent out) | $/MW/hour (Sent out, real $2010/11) | tCO2-e/MWh (Sent out) | MWh/GJ (Sent out) | % in station losses
|  | Committed | RegionName | PortfolioName | StationName | GenName | Capacity | Summer Capacity | Fixed Cost | Carbon Rate | Heat Rate | Auxillary | Date In | Date Out
|  | Yes | NSW | Babcock | Redbank | Redbank | 138 | 133.4 | 0 | 1.2127 | 12.2867 | 8% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Delta | Colongra | Colongra | 702.28 | 647.96 | 0 | 0.73687 | 11.25 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Delta | Munmorah | Munmorah | 556.2 | 556.2 | 0 | 1.1571 | 11.6883 | 7.3% | 2010-07-01 | 2014-07-01
|  | Yes | NSW | Delta | Vales Pt | Vales Pt | 1259.28 | 1259.28 | 0 | 1.0017 | 10.1695 | 4.6% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | MacGen | Bayswater | Bayswater | 2594.4 | 2556.8 | 0 | 0.99175 | 10.0279 | 6% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | MacGen | Hunter Valley GT | Hunter Valley GT | 48.5 | 42.68 | 0 | 0.96429 | 12.8571 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | MacGen | Liddell | Liddell | 1985.5 | 1971.25 | 0 | 1.0811 | 10.6509 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Wind NSW | Gunning Wind Farm | Gunning Wind Farm | 46.5 | 46.5 | 0 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | Yes | NSW | Wind NSW | Woodlawn Wind Farm | Woodlawn Wind Farm | 42 | 42 | 0 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | Yes | NSW | Origin | Eraring | Eraring | 2692.8 | 2692.8 | 0 | 0.99864 | 10.1695 | 6.5% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Origin | Shoalhaven | Hume (NSW) 2 | 0.0001 | 29 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Origin | Shoalhaven | Shoalhaven | 240 | 240 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Origin | Shoalhaven | Shoalhaven Pump | -240 | -240 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Origin | Uranquinty GT | Uranquinty GT | 644.08 | 620.8 | 0 | 0.73687 | 11.25 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Sithe | Smithfield | Smithfield | 152 | 152 | 0 | 0.57512 | 8.7805 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Snowy | Blowering | Blowering | 40 | 40 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Snowy | Guthega | Guthega | 60 | 60 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Snowy | Tumut | Tumut Pump | -600 | -600 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Snowy | Tumut | TumutA | 1800 | 1750 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | Snowy | Tumut | TumutB | 616 | 616 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | TRU | Mt Piper | Mt Piper | 1330 | 1330 | 0 | 0.93503 | 9.7297 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | TRU | Tallawarra | Tallawarra | 446.2 | 409.34 | 0 | 0.4716 | 7.2 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | NSW | TRU | Wallerawang | Wallerawang | 927 | 927 | 0 | 1.0452 | 10.8761 | 7.3% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | AGL | Oakey GT | Oakey GT | 322.04 | 266.75 | 0 | 0.62613 | 11.0429 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | AGL | Townsville | Townsville | 236.68 | 227.95 | 0 | 0.44374 | 7.8261 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Babcock | Braemar 2 | Braemar 2 | 506.025 | 482.625 | 0 | 0.6804 | 12 | 2.5% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Babcock | Braemar GT | Braemar GT | 491.4 | 424.125 | 0 | 0.6804 | 12 | 2.5% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | CS | Barron Gorge | Barron Gorge | 60 | 60 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | CS | Callide A | Callide A | 27.9 | 27.9 | 0 | 0.96731 | 9.9723 | 7% | 2010-07-01 | 2015-07-01
|  | Yes | QLD | CS | Callide B | Callide B | 651 | 651 | 0 | 0.96731 | 9.9723 | 7% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | CS | Callide C1 | Callide C1 | 428.4 | 428.4 | 0 | 0.91895 | 9.863 | 4.8% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | CS | Gladstone | Gladstone | 1596 | 1596 | 0 | 0.96239 | 10.2273 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | CS | Kareeya | Kareeya | 86.4 | 86.4 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | CS | Kogan Ck | Kogan Ck | 684.48 | 666.08 | 0 | 0.9216 | 9.6 | 8% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | CS | Mackay GT | Mackay GT | 31.04 | 26.19 | 0 | 0.96429 | 12.8571 | 3% | 2010-07-01 | 2016-07-01
|  | Yes | QLD | CS | Wivenhoe | Wivenhoe | 500 | 500 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | CS | Wivenhoe | Wivenhoe Pump | -480 | -480 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Ergon | Barcaldine | Barcaldine | 47.53 | 47.53 | 0 | 0.5103 | 9 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | InterGen | Callide C2 | Callide C2 | 428.4 | 428.4 | 0 | 0.91895 | 9.863 | 4.8% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | InterGen | Millmerran | Millmerran | 811.956 | 811.956 | 0 | 0.9024 | 9.7561 | 4.7% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Origin | Darling Downs | Darling Downs | 592.2 | 568.7 | 0 | 0.41713 | 7.8261 | 6% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Origin | Mt Stuart GT | Mt Stuart GT | 402.55 | 375.39 | 0 | 0.9 | 12 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Origin | Roma GT | Roma GT | 65.96 | 52.38 | 0 | 0.6804 | 12 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | QGC | Condamine | Condamine | 130.95 | 130.95 | 0 | 0.39975 | 7.5 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | RioTinto | Yarwun | Yarwun | 162.68 | 143.08 | 0 | 0.60035 | 10.5882 | 2% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Stanwell | Collinsville | Collinsville | 172.04 | 172.04 | 0 | 1.1879 | 12.9964 | 8% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Stanwell | Stanwell | Stanwell | 1357.8 | 1308.51 | 0 | 0.91385 | 9.8901 | 7% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Stanwell | Swanbank B | Swanbank B | 110.4 | 220.8 | 0 | 1.0906 | 11.8033 | 8% | 2010-07-01 | 2012-07-01
|  | Yes | QLD | Stanwell | Swanbank E | Swanbank E | 358.9 | 339.5 | 0 | 0.4343 | 7.6596 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Stanwell | Tarong | Tarong | 1288 | 1288 | 0 | 0.9358 | 9.9448 | 8% | 2010-07-01 | 2099-07-01
|  | Yes | QLD | Stanwell | Tarong North | Tarong North | 420.85 | 420.85 | 0 | 0.86418 | 9.1837 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | SA | AGL | Angaston GT | Angaston GT | 47.58 | 47.58 | 0 | 1.0135 | 13.8462 | 2.5% | 2010-07-01 | 2099-07-01
|  | Yes | SA | AGL | Hallett Wind | Hallett I | 95 | 59 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | SA | AGL | Hallett Wind | Hallett II | 71 | 44 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | SA | AGL | Hallett Wind | Hallett IV (North Brown Wind Farm) | 132 | 81.9 | 0 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | Yes | SA | AGL | Hallett Wind | Hallett V (The Bluff Wind Farm) | 53 | 32.5 | 0 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | Yes | SA | AGL | Torrens A | Torrens A | 478.8 | 456 | 0 | 0.91174 | 12 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | SA | AGL | Torrens B | Torrens B | 779 | 760 | 0 | 0.8388 | 11.25 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Babcock | Northern | Northern | 518.7 | 514.9 | 0 | 0.94797 | 10.3152 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Babcock | Osborne | Osborne | 182.4 | 166.25 | 0 | 0.59914 | 8.5714 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Babcock | Playford | Playford | 220.8 | 220.8 | 0 | 1.5107 | 16.4384 | 8% | 2010-07-01 | 2099-07-01
|  | Yes | SA | IP | Dry Creek GT | Dry Creek GT | 141.62 | 111.55 | 0 | 0.96785 | 13.8462 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | SA | IP | Mintaro GT | Mintaro GT | 87.3 | 64.99 | 0 | 0.89871 | 12.8571 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | SA | IP | Pelican Point | Pelican Point | 464.52 | 439.04 | 0 | 0.52425 | 7.5 | 2% | 2010-07-01 | 2099-07-01
|  | Yes | SA | IP | Port Lincoln GT | Port Lincoln GT | 67.16 | 52.44 | 0 | 1.0135 | 13.8462 | 8% | 2010-07-01 | 2099-07-01
|  | Yes | SA | IP | Snuggery GT | Snuggery GT | 64.02 | 49.47 | 0 | 1.0135 | 13.8462 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Wind SA | Clements Gap | Clements Gap | 57 | 57 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Wind SA | Lake Bonney Stage 2 Wind Farm | Lake Bonney Stage 2 Wind Farm | 159 | 159 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Wind SA | Lake Bonney Stage 3 Wind Farm | Lake Bonney Stage 3 Wind Farm | 39 | 39 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Wind SA | Snowtown | Snowtown | 99 | 99 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Wind SA | Waterloo Wind Farm | Waterloo Wind Farm | 111 | 111 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Origin | Ladbroke Grove GT | Ladbroke Grove GT | 83.42 | 67.9 | 0 | 0.8388 | 12 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | SA | Origin | Quarantine GT | Quarantine GT | 211.85 | 181.45 | 0 | 0.78638 | 11.25 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | SA | TRU | Hallett GT | Hallett GT | 197.925 | 194.1225 | 0 | 1.0485 | 15 | 2.5% | 2010-07-01 | 2099-07-01
|  | Yes | TAS | Aurora | Tamar Valley | Tamar Valley | 201.76 | 201.76 | 0 | 0.42825 | 7.5 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | TAS | Aurora | Tamar Valley OCGT | Tamar Valley OCGT | 56.55 | 56.55 | 0 | 0.70883 | 12.4138 | 2.5% | 2010-07-01 | 2099-07-01
|  | Yes | TAS | Babcock | Bell Bay 3 | Bell Bay 3 | 117 | 117 | 0 | 0.70883 | 12.4138 | 2.5% | 2010-07-01 | 2099-07-01
|  | Yes | TAS | HydroTas | HydroTas | HydroTas | 2164 | 2131 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | AGL | Bogong | Bogong | 140 | 140 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | AGL | Somerton GT | Somerton GT | 158.925 | 128.7 | 0 | 0.8565 | 15 | 2.5% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | AGL | Southern Hydro | Dartmouth | 140 | 140 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | AGL | Southern Hydro | Eildon | 60 | 92 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | AGL | Southern Hydro | Mckay Creek | 160 | 160 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | AGL | Southern Hydro | West Kiewa | 52 | 66 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Babcock | Bairnsdale GT | Bairnsdale GT | 89.24 | 65.96 | 0 | 0.60459 | 10.5882 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Energy Brix | Energy Brix | Energy Brix | 139.4 | 139.4 | 0 | 1.4895 | 15 | 15% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | IP | Hazelwood | Hazelwood | 1440 | 1440 | 0 | 1.5267 | 16.3636 | 10% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | IP | Loy Yang B | Loy Yang B | 971.25 | 892.625 | 0 | 1.2424 | 13.5338 | 7.5% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Loy Yang | Loy Yang A | Loy Yang A | 2065.7 | 1974.7 | 0 | 1.215 | 13.2353 | 9% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Wind VIC | Oaklands Hill Wind Farm | Oaklands Hill Wind Farm | 67.2 | 41.6 | 0 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | Yes | VIC | Origin | Hume | Hume | 0.0001 | 29 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Origin | Mortlake | Mortlake | 536.41 | 502.46 | 0 | 0.64238 | 11.25 | 3% | 2011-07-01 | 2099-07-01
|  | Yes | VIC | SECV | Anglesea | Anglesea | 139.5 | 140.4 | 0 | 1.2084 | 13.2353 | 10% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Snowy | Laverton North GT | Laverton North GT | 331.5 | 292.5 | 0 | 0.67618 | 11.8421 | 2.5% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Snowy | Murray | MurrayA | 950 | 950 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Snowy | Murray | MurrayB | 577.5 | 577.5 | 0 | 0 | 0 | 0% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | Snowy | Valley Power GT | Valley Power GT | 325.92 | 261.9 | 0 | 0.8565 | 15 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | TRU | Jeeralang A GT | Jeeralang A GT | 225.04 | 194 | 0 | 0.89764 | 15.7205 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | TRU | Jeeralang B GT | Jeeralang B GT | 247.35 | 209.52 | 0 | 0.89764 | 15.7205 | 3% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | TRU | Newport | Newport | 484.5 | 451.25 | 0 | 0.6173 | 10.8108 | 5% | 2010-07-01 | 2099-07-01
|  | Yes | VIC | TRU | Yallourn | Yallourn | 1354.657 | 1293.62 | 0 | 1.4216 | 15.3191 | 8.9% | 2010-07-01 | 2099-07-01
|  | No | NSW | New Green NSW | Biomass_NSW | Biomass_NSW | 10000 | 10000 | 54.1 | 0 | 12 | 0% | 2011-07-01 | 2099-07-01
|  | No | NSW | New Green NSW | Small Hydro_NSW | Small Hydro_NSW | 10000 | 10000 | 32.22 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | NSW | New Green NSW | Wind_NSW | Wind_NSW | 10000 | 10000 | 25.1 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | NSW | New Thermal NSW | CCGT_CAN | CCGT_CAN | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | NSW | New Thermal NSW | CCGT_NCEN | CCGT_NCEN | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | NSW | New Thermal NSW | CCGT_SWNSW | CCGT_SWNSW | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | NSW | New Thermal NSW | OCGT_CAN | OCGT_CAN | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | NSW | New Thermal NSW | OCGT_NCEN | OCGT_NCEN | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | NSW | New Thermal NSW | OCGT_SWNSW | OCGT_SWNSW | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | NSW | New Thermal NSW | SC Black Coal_NCEN | SC Black Coal_NCEN | 27750 | 27750 | 30.8 | 0.9216 | 9 | 7.5% | 2015-07-01 | 2099-07-01
|  | No | NSW | New Thermal NSW | SC Black Coal_SWNSW | SC Black Coal_SWNSW | 27750 | 27750 | 30.8 | 0.9216 | 9 | 7.5% | 2015-07-01 | 2099-07-01
|  | No | QLD | New Green QLD | Biomass_QLD | Biomass_QLD | 10000 | 10000 | 54.1 | 0 | 12 | 0% | 2011-07-01 | 2099-07-01
|  | No | QLD | New Green QLD | Small Hydro_QLD | Small Hydro_QLD | 10000 | 10000 | 32.22 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | QLD | New Green QLD | Wind_QLD | Wind_QLD | 10000 | 10000 | 25.1 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | CCGT_CQ | CCGT_CQ | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | CCGT_NQ | CCGT_NQ | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | CCGT_SEQ | CCGT_SEQ | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | CCGT_SWQ | CCGT_SWQ | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | OCGT_CQ | OCGT_CQ | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | OCGT_NQ | OCGT_NQ | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | OCGT_SEQ | OCGT_SEQ | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | OCGT_SWQ | OCGT_SWQ | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | SC Black Coal_CQ | SC Black Coal_CQ | 27750 | 27750 | 30.8 | 0.9216 | 9 | 7.5% | 2015-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | SC Black Coal_NQ | SC Black Coal_NQ | 27750 | 27750 | 30.8 | 0.9216 | 9 | 7.5% | 2015-07-01 | 2099-07-01
|  | No | QLD | New Thermal QLD | SC Black Coal_SWQ | SC Black Coal_SWQ | 27750 | 27750 | 30.8 | 0.9216 | 9 | 7.5% | 2015-07-01 | 2099-07-01
|  | No | SA | New Green SA | Biomass_SA | Biomass_SA | 10000 | 10000 | 54.1 | 0 | 12 | 0% | 2011-07-01 | 2099-07-01
|  | No | SA | New Green SA | Small Hydro_SA | Small Hydro_SA | 10000 | 10000 | 32.22 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | SA | New Green SA | Wind_SA | Wind_SA | 10000 | 10000 | 25.1 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | SA | New Thermal SA | CCGT_ADE | CCGT_ADE | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | SA | New Thermal SA | CCGT_NSA | CCGT_NSA | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | SA | New Thermal SA | CCGT_SESA | CCGT_SESA | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | SA | New Thermal SA | OCGT_ADE | OCGT_ADE | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | SA | New Thermal SA | OCGT_NSA | OCGT_NSA | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | SA | New Thermal SA | OCGT_SESA | OCGT_SESA | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | TAS | New Green TAS | Biomass_TAS | Biomass_TAS | 10000 | 10000 | 54.1 | 0 | 12 | 0% | 2011-07-01 | 2099-07-01
|  | No | TAS | New Green TAS | Small Hydro_TAS | Small Hydro_TAS | 10000 | 10000 | 32.22 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | TAS | New Green TAS | Wind_TAS | Wind_TAS | 10000 | 10000 | 25.1 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | TAS | New Thermal TAS | CCGT_Tas | CCGT_TAS | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | TAS | New Thermal TAS | OCGT_Tas | OCGT_TAS | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | VIC | New Green VIC | Biomass_VIC | Biomass_VIC | 10000 | 10000 | 54.1 | 0 | 12 | 0% | 2011-07-01 | 2099-07-01
|  | No | VIC | New Green VIC | Small Hydro_VIC | Small Hydro_VIC | 10000 | 10000 | 32.22 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | VIC | New Green VIC | Wind_VIC | Wind_VIC | 10000 | 10000 | 25.1 | 0 | 0 | 0% | 2011-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | CCGT_CVIC | CCGT_CVIC | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | CCGT_LV | CCGT_LV | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | CCGT_MEL | CCGT_MEL | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | CCGT_NVIC | CCGT_NVIC | 9760 | 9760 | 18.3 | 0.4716 | 7.2 | 2.4% | 2012-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | OCGT_CVIC | OCGT_CVIC | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | OCGT_LV | OCGT_LV | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | OCGT_MEL | OCGT_MEL | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | OCGT_NVIC | OCGT_NVIC | 9800 | 9800 | 10.63 | 0.64238 | 11.6129 | 2% | 2010-07-01 | 2099-07-01
|  | No | VIC | New Thermal VIC | SC Brown Coal_LV | SC Brown Coal_LV | 45250 | 45250 | 34.92 | 1.215 | 11.25 | 9.5% | 2015-07-01 | 2099-07-01
Note on K12: James Allan: Fixed cost is comprised of capital, tax, interest during constuction and FOM.

## SRMC by year
| Title | SRMC |  |  |  | v1.0
Description |  |  | SRMC by plant ($/MWh, sent out, real $2010-11)
| Committed | Region | Name | 2011/12 | 2012/13
| Yes | NSW | Bayswater | 15.13 | 15.33
|  |  | Colongra | 92.92 | 89.08
|  |  | Eraring | 19.1 | 19.2
|  |  | Hunter Valley GT | 395.7 | 395.7
|  |  | Liddell | 16 | 16.2
|  |  | Mt Piper | 20.84 | 20.84
|  |  | Munmorah | 25.55 | 25.67
|  |  | Redbank | 14.19 | 14.19
|  |  | Smithfield | 40.07 | 40.01
|  |  | Tallawarra | 29.09 | 29.06
|  |  | Uranquinty GT | 81.15 | 77.34
|  |  | Vales Pt | 21.48 | 21.58
|  |  | Wallerawang | 23.13 | 23.13
|  | QLD | Barcaldine | 63.57 | 63.36
|  |  | Braemar 2 | 43.76 | 43.76
|  |  | Braemar GT | 41.06 | 41.05
|  |  | Callide A | 14.97 | 14.97
|  |  | Callide B | 14.97 | 14.97
|  |  | Callide C1 | 16.4 | 16.4
|  |  | Callide C2 | 16.4 | 16.4
|  |  | Collinsville | 32.44 | 32.44
|  |  | Condamine | 8.37 | 8.37
|  |  | Darling Downs | 28.48 | 28.48
|  |  | Gladstone | 17.9 | 17.9
|  |  | Kogan Ck | 8.81 | 8.81
|  |  | Mackay GT | 395.11 | 395.11
|  |  | Millmerran | 11.61 | 11.61
|  |  | Mt Stuart GT | 369.39 | 369.39
|  |  | Oakey GT | 57.72 | 57.62
|  |  | Roma GT | 61.65 | 61.94
|  |  | Stanwell | 17.72 | 17.72
|  |  | Swanbank B | 31.11 | 31.03
|  |  | Swanbank E | 26.94 | 26.47
|  |  | Tarong | 17.97 | 17.95
|  |  | Tarong North | 10.89 | 10.87
|  |  | Townsville | 33.45 | 33.38
|  |  | Yarwun | 38.53 | 38.34
|  | SA | Angaston GT | 425.37 | 425.37
|  |  | Dry Creek GT | 76.61 | 76.46
|  |  | Hallett GT | 107.66 | 101.67
|  |  | Ladbroke Grove GT | 69.77 | 67.24
|  |  | Mintaro GT | 93.7 | 88.57
|  |  | Northern | 16.95 | 16.95
|  |  | Osborne | 41.46 | 41.38
|  |  | Pelican Point | 31.54 | 31.48
|  |  | Playford | 28.16 | 28.16
|  |  | Port Lincoln GT | 425.37 | 425.37
|  |  | Quarantine GT | 76.05 | 73.44
|  |  | Snuggery GT | 425.37 | 425.37
|  |  | Torrens A | 51.83 | 51.72
|  |  | Torrens B | 48.74 | 48.64
|  | TAS | Bell Bay 3 | 77.45 | 74.02
|  |  | Tamar Valley | 39.96 | 40.1
|  |  | Tamar Valley OCGT | 74.5 | 71.08
|  | VIC | Anglesea | 6.42 | 6.42
|  |  | Bairnsdale GT | 48.88 | 48.85
|  |  | Energy Brix | 11.18 | 11.18
|  |  | Hazelwood | 2.6 | 2.6
|  |  | Jeeralang A GT | 78.19 | 83.22
|  |  | Jeeralang B GT | 78.19 | 83.22
|  |  | Laverton North GT | 58.05 | 60.45
|  |  | Loy Yang A | 2.34 | 2.34
|  |  | Loy Yang B | 6.21 | 6.21
|  |  | Mortlake | 67.43 | 65.11
|  |  | Newport | 47.51 | 49.7
|  |  | Somerton GT | 73.22 | 76.26
|  |  | Valley Power GT | 69.49 | 72.54
|  |  | Yallourn | 2.69 | 2.69
| No | NSW | Biomass_NSW | 25.77 | 25.77
|  |  | CCGT_CAN | 42.27 | 42.34
|  |  | CCGT_NCEN | 42.27 | 42.34
|  |  | CCGT_NNSW | 42.27 | 42.34
|  |  | CCGT_SWNSW | 42.27 | 42.34
|  |  | OCGT_CAN | 90.82 | 91.04
|  |  | OCGT_NCEN | 90.82 | 91.04
|  |  | OCGT_NNSW | 90.82 | 91.04
|  |  | OCGT_SWNSW | 90.82 | 91.04
|  |  | SC Black Coal_NCEN | 13.43 | 13.51
|  |  | SC Black Coal_SWNSW | 11.29 | 11.36
|  | QLD | Biomass_QLD | 25.77 | 25.77
|  |  | CCGT_CQ | 32.43 | 30.89
|  |  | CCGT_NQ | 32.43 | 30.89
|  |  | CCGT_SEQ | 32.43 | 30.89
|  |  | CCGT_SWQ | 32.43 | 30.89
|  |  | OCGT_CQ | 70.99 | 67.93
|  |  | OCGT_NQ | 70.99 | 67.93
|  |  | OCGT_SEQ | 70.99 | 67.93
|  |  | OCGT_SWQ | 70.99 | 67.93
|  |  | SC Black Coal_CQ | 14.45 | 14.54
|  |  | SC Black Coal_NQ | 18.81 | 18.93
|  |  | SC Black Coal_SWQ | 15.1 | 15.19
|  | SA | Biomass_SA | 25.77 | 25.77
|  |  | CCGT_ADE | 40.37 | 40.72
|  |  | CCGT_NSA | 40.37 | 40.72
|  |  | CCGT_SESA | 40.37 | 40.72
|  |  | OCGT_ADE | 87.08 | 87.76
|  |  | OCGT_NSA | 87.08 | 87.76
|  |  | OCGT_SESA | 87.08 | 87.76
|  | TAS | Biomass_TAS | 25.77 | 25.77
|  |  | CCGT_Tas | 38.4 | 38.54
|  |  | OCGT_Tas | 83 | 83.34
|  | VIC | Biomass_VIC | 25.77 | 25.77
|  |  | CCGT_CVIC | 32.36 | 32.57
|  |  | CCGT_LV | 32.36 | 32.57
|  |  | CCGT_MEL | 32.36 | 32.57
|  |  | CCGT_NVIC | 32.36 | 32.57
|  |  | OCGT_CVIC | 70.99 | 71.44
|  |  | OCGT_LV | 70.99 | 71.44
|  |  | OCGT_MEL | 70.99 | 71.44
|  |  | OCGT_NVIC | 70.99 | 71.44
|  |  | SC Brown Coal_LV | 7.99 | 8.04