## Station Inputs
| Title | Station level assumptions | [5 empty] | v1.4
Description | Station inputs
|  |  |  | Units | MW (Sent out) | MW (Sent out) | $/MW/hour (Sent out, real $2009/10) | tCO2-e/MWh (Sent out) | MWh/GJ (Sent out) | % in station losses
|  | RegionName | PortfolioName | StationName | Capacity | Summer Capacity | Fixed Cost | Carbon Rate | Heat Rate | Auxillary | Date In | Date Out
|  | NSW | Babcock | Redbank | 136.16 | 133.4 | 0 | 1.2127 | 12.2867 | 0.08 | 2001-07-01 | 2099-07-01
|  | NSW | MacGen | Bayswater | 2594.4 | 2556.8 | 0 | 0.99175 | 10.0279 | 0.06 | 1985-07-01 | 2099-07-01
|  | NSW | Delta | Wallerawang | 927 | 927 | 0 | 1.0452 | 10.8761 | 0.07 | 1980-07-01 | 2099-07-01
|  | NSW | Delta | Mt Piper | 1330 | 1330 | 0 | 0.93503 | 9.7297 | 0.05 | 1993-07-01 | 2099-07-01
|  | NSW | Sithe | Smithfield | 152 | 152 | 0 | 0.57512 | 8.7805 | 0.05 | 1997-07-01 | 2099-07-01
|  | NSW | Snowy | Blowering | 20 | 80 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | OCGT_NCEN | 1980 | 1980 | 11.3715 | 0.76065 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | NSW | Delta | Vales Pt | 1259.28 | 1259.28 | 0 | 1.0017 | 10.1695 | 0.05 | 1978-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | CCGT_CAN | 985 | 985 | 17.5117 | 0.45346 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | NSW | Snowy | Tumut | 2116 | 2116 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | NSW | Existing Green | Existing Green NSW | 518 | 518 | 0 | 0 | NA | 0 | 2000-07-01 | 2099-07-01
|  | NSW | Eraring | Shoalhaven | 240 | 240 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | SC Black Coal_SWNSW | 27750 | 27750 | 32.0787 | 0.882 | 8.57 | 0.08 | 2013-07-01 | 2099-07-01
|  | NSW | TRU | Tallawarra | 424.86 | 404.49 | 0 | 0.4716 | 7.2 | 0.03 | 2008-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | OCGT_SWNSW | 1980 | 1980 | 11.3715 | 0.76065 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | NSW | MacGen | Liddell | 1995 | 1976 | 0 | 1.0811 | 10.6509 | 0.05 | 1973-07-01 | 2099-07-01
|  | NSW | Delta | Munmorah | 556.2 | 556.2 | 0 | 1.1571 | 11.6883 | 0.07 | 1969-07-01 | 2014-07-01
|  | NSW | Origin | Uranquinty GT | 644.08 | 628.56 | 0 | 0.73687 | 11.25 | 0.03 | 2007-07-01 | 2099-07-01
|  | NSW | MacGen | Hunter Valley GT | 49.47 | 42.68 | 0 | 0.96429 | 12.8571 | 0.03 | 1988-07-01 | 2099-07-01
|  | NSW | Eraring | Eraring | 2468.4 | 2468.4 | 0 | 0.99864 | 10.1695 | 0.07 | 1982-07-01 | 2099-07-01
|  | NSW | New Green NSW | Biomass_NSW | 940 | 940 | 63.8483 | 0 | 0 | 0.06 | 2008-07-01 | 2099-07-01
|  | NSW | New Green NSW | Small Hydro_NSW | 100 | 100 | 35.3484 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | USC_NCEN | 27900 | 27900 | 33.7281 | 0.82047 | 8 | 0.07 | 2013-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | USC_SWNSW | 27900 | 27900 | 33.7281 | 0.82047 | 8 | 0.07 | 2013-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | CCGT_NNSW | 985 | 985 | 17.5117 | 0.45346 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | CCGT_NCEN | 985 | 985 | 17.5117 | 0.45346 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | CCGT_SWNSW | 985 | 985 | 17.5117 | 0.45346 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | NSW | Snowy | Guthega | 60 | 60 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | NSW | Delta | Colongra | 647.96 | 647.96 | 0 | 0.73687 | 11.25 | 0.03 | 2000-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | IGCC_SWNSW | 25500 | 25500 | 51.5405 | 0.86049 | 8.78 | 0.15 | 2013-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | OCGT_CAN | 1980 | 1980 | 11.3715 | 0.76065 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | SC Black Coal_NCEN | 27750 | 27750 | 32.0787 | 0.882 | 8.57 | 0.08 | 2013-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | IGCC_NCEN | 25500 | 25500 | 51.5405 | 0.86049 | 8.78 | 0.15 | 2013-07-01 | 2099-07-01
|  | NSW | New Thermal NSW | OCGT_NNSW | 495 | 495 | 11.3715 | 0.76065 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | NSW | New Green NSW | Wind_NSW | 4950 | 4950 | 30.4419 | 0 | 0 | 0.01 | 2008-07-01 | 2099-07-01
|  | NSW | New Green NSW | Geo - Hot Dry Rock_NSW | 2000 | 2000 | 63.3358 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | QLD | AGL | Oakey GT | 322.04 | 266.75 | 0 | 0.62613 | 11.0429 | 0.03 | 2000-07-01 | 2099-07-01
|  | QLD | RioTinto | Yarwun | 165.62 | 145.04 | 0 | 0.60035 | 10.5882 | 0.02 | 2010-07-01 | 2099-07-01
|  | QLD | Arrow Energy | Braemar 2 | 506.025 | 450.45 | 0 | 0.6804 | 12 | 0.03 | 2009-01-01 | 2099-07-01
|  | QLD | CS | Callide C1 | 428.4 | 428.4 | 0 | 0.91895 | 9.4737 | 0.05 | 2001-07-01 | 2099-07-01
|  | QLD | CS | Swanbank B | 441.6 | 441.6 | 0 | 1.0906 | 11.8033 | 0.08 | 1973-07-01 | 2099-07-01
|  | QLD | CS | Kogan Ck | 684.48 | 666.08 | 0 | 0.9216 | 9.6 | 0.08 | 2007-07-01 | 2099-07-01
|  | QLD | CS | Callide B | 651 | 651 | 0 | 0.94737 | 9.9723 | 0.07 | 1988-07-01 | 2099-07-01
|  | QLD | CS | Swanbank E | 358.9 | 339.5 | 0 | 0.4343 | 7.6596 | 0.03 | 2002-07-01 | 2099-07-01
|  | QLD | Existing Green | Existing Green QLD | 485 | 485 | 0 | 0 | NA | 0 | 2000-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | SC Black Coal_CQ | 27750 | 27750 | 32.0787 | 0.8379 | 8.57 | 0.08 | 2013-07-01 | 2099-07-01
|  | QLD | Origin | Mt Stuart GT | 402.55 | 369.57 | 0 | 0.9 | 12 | 0.03 | 1998-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | CCGT_NQ | 1970 | 1970 | 17.5117 | 0.39254 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | QLD | Origin | Darling Downs | 583.74 | 517.94 | 0 | 0.41713 | 7.8261 | 0.06 | 2010-07-01 | 2099-07-01
|  | QLD | Stanwell | Mackay GT | 31.04 | 31.04 | 0 | 0.96429 | 12.8571 | 0.03 | 1976-07-01 | 2099-07-01
|  | QLD | Origin | Roma GT | 65.96 | 52.38 | 0 | 0.6804 | 12 | 0.03 | 1999-07-01 | 2099-07-01
|  | QLD | Babcock | Braemar GT | 438.75 | 438.75 | 0 | 0.6804 | 12 | 0.03 | 2006-07-01 | 2099-07-01
|  | QLD | Enertrade | Townsville | 235.71 | 225.04 | 0 | 0.44374 | 7.8261 | 0.03 | 2005-07-01 | 2099-07-01
|  | QLD | Stanwell | Gladstone | 1596 | 1596 | 0 | 0.96239 | 10.2273 | 0.05 | 1976-07-01 | 2099-07-01
|  | QLD | Tarong | Tarong | 1288 | 1288 | 0 | 0.9358 | 9.9448 | 0.08 | 1986-07-01 | 2099-07-01
|  | QLD | Tarong | Tarong North | 420.85 | 420.85 | 0 | 0.86418 | 9.1837 | 0.05 | 2002-07-01 | 2099-07-01
|  | QLD | CS | Collinsville | 172.04 | 172.04 | 0 | 1.1879 | 12.9964 | 0.08 | 1998-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | SC Black Coal_NQ | 27750 | 27750 | 32.0787 | 0.8379 | 8.57 | 0.08 | 2013-07-01 | 2099-07-01
|  | QLD | InterGen | Millmerran | 813.66 | 813.66 | 0 | 0.9024 | 9.6 | 0.05 | 2002-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | OCGT_CQ | 1980 | 1980 | 11.3715 | 0.65845 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | CCGT_SEQ | 1970 | 1970 | 17.5117 | 0.39254 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | QLD | Stanwell | Stanwell | 1351.29 | 1292.7 | 0 | 0.91385 | 9.8901 | 0.07 | 1996-07-01 | 2099-07-01
|  | QLD | Enertrade | Barcaldine | 47.53 | 47.53 | 0 | 0.5103 | 9 | 0.03 | 1996-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | IGCC_SWQ | 25500 | 25500 | 51.5405 | 0.81746 | 8.78 | 0.15 | 2013-07-01 | 2099-07-01
|  | QLD | QGC | Condamine | 133.86 | 130.95 | 0 | 0.39975 | 7.5 | 0.03 | 2000-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | USC_NQ | 27900 | 27900 | 33.7281 | 0.77944 | 8 | 0.07 | 2013-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | IGCC_NQ | 25500 | 25500 | 51.5405 | 0.81746 | 8.78 | 0.15 | 2013-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | CCGT_CQ | 1970 | 1970 | 17.5117 | 0.39254 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | QLD | Tarong | Wivenhoe | 500 | 500 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | QLD | New Green QLD | Biomass_QLD | 940 | 940 | 63.8483 | 0 | 0 | 0.06 | 2008-07-01 | 2099-07-01
|  | QLD | InterGen | Callide C2 | 428.4 | 428.4 | 0 | 0.91895 | 9.4737 | 0.05 | 2001-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | SC Black Coal_SWQ | 27750 | 27750 | 32.0787 | 0.8379 | 8.57 | 0.08 | 2013-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | OCGT_SWQ | 1980 | 1980 | 11.3715 | 0.65845 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | QLD | Stanwell | Barron Gorge | 60 | 60 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | CCGT_SWQ | 1970 | 1970 | 17.5117 | 0.39254 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | IGCC_CQ | 25500 | 25500 | 51.5405 | 0.81746 | 8.78 | 0.15 | 2013-07-01 | 2099-07-01
|  | QLD | Stanwell | Kareeya | 88 | 88 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | USC_SWQ | 27900 | 27900 | 33.7281 | 0.77944 | 8 | 0.07 | 2013-07-01 | 2099-07-01
|  | QLD | New Green QLD | Geo - Hot Dry Rock_QLD | 6000 | 6000 | 63.3358 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | OCGT_NQ | 1980 | 1980 | 11.3715 | 0.65845 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | OCGT_SEQ | 1980 | 1980 | 11.3715 | 0.65845 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | QLD | New Green QLD | Wind_QLD | 4950 | 4950 | 30.4419 | 0 | 0 | 0.01 | 2008-07-01 | 2099-07-01
|  | QLD | New Thermal QLD | USC_CQ | 27900 | 27900 | 33.7281 | 0.77944 | 8 | 0.07 | 2013-07-01 | 2099-07-01
|  | QLD | New Green QLD | Small Hydro_QLD | 100 | 100 | 35.3484 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | SA | Existing Green | Existing Green SA | 410 | 410 | 0 | 0 | NA | 0 | 2000-07-01 | 2099-07-01
|  | SA | New Thermal SA | CCGT_ADE | 1970 | 1970 | 17.5117 | 0.48392 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | SA | New Thermal SA | CCGT_SESA | 1970 | 1970 | 17.5117 | 0.48392 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | SA | AGL | Torrens B | 779 | 741 | 0 | 0.8388 | 12 | 0.05 | 1977-07-01 | 2099-07-01
|  | SA | New Thermal SA | OCGT_SESA | 1980 | 1980 | 11.3715 | 0.81174 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | SA | Babcock | Northern | 518.7 | 514.9 | 0 | 0.94797 | 10.3152 | 0.05 | 1985-07-01 | 2099-07-01
|  | SA | TRU | Hallett GT | 183.3 | 146.25 | 0 | 1.0485 | 15 | 0.03 | 2002-07-01 | 2099-07-01
|  | SA | New Thermal SA | CCGT_NSA | 1970 | 1970 | 17.5117 | 0.48392 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | SA | Babcock | Playford | 220.8 | 220.8 | 0 | 1.5107 | 16.4384 | 0.08 | 1960-07-01 | 2099-07-01
|  | SA | Babcock | Osborne | 182.4 | 166.25 | 0 | 0.59914 | 8.5714 | 0.05 | 1998-07-01 | 2099-07-01
|  | SA | AGL | Angaston GT | 47.775 | 47.775 | 0 | 1.0135 | 13.8462 | 0.03 | 2006-07-01 | 2099-07-01
|  | SA | IP | Pelican Point | 464.52 | 439.04 | 0 | 0.52425 | 7.5 | 0.02 | 2000-07-01 | 2099-07-01
|  | SA | Origin | Ladbroke Grove GT | 81.48 | 67.9 | 0 | 0.8388 | 12 | 0.03 | 2000-07-01 | 2099-07-01
|  | SA | IP | Dry Creek GT | 141.62 | 111.55 | 0 | 0.96785 | 13.8462 | 0.03 | 1973-07-01 | 2099-07-01
|  | SA | IP | Mintaro GT | 87.3 | 64.99 | 0 | 0.89871 | 12.8571 | 0.03 | 1984-07-01 | 2099-07-01
|  | SA | Origin | Quarantine GT | 208.05 | 187.15 | 0 | 0.78637 | 11.25 | 0.05 | 2002-07-01 | 2099-07-01
|  | SA | New Thermal SA | OCGT_ADE | 1980 | 1980 | 11.3715 | 0.81174 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | SA | New Green SA | Geo - Hot Dry Rock_SA | 8000 | 8000 | 63.3358 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | SA | IP | Snuggery GT | 64.02 | 49.47 | 0 | 1.0135 | 13.8462 | 0.03 | 1997-07-01 | 2099-07-01
|  | SA | New Green SA | Biomass_SA | 0.94 | 0.94 | 63.8483 | 0 | 0 | 0.06 | 2008-07-01 | 2099-07-01
|  | SA | Existing Green | SA wind | 419.76 | 419.76 | 0 | 0 | 0 | 0.01 | 2009-07-01 | 2099-07-01
|  | SA | AGL | Torrens A | 478.8 | 452.2 | 0 | 0.91174 | 13.0435 | 0.05 | 1967-07-01 | 2099-07-01
|  | SA | IP | Port Lincoln GT | 46 | 38.64 | 0 | 1.0135 | 13.8462 | 0.08 | 2000-07-01 | 2099-07-01
|  | SA | New Green SA | Wind_SA | 4950 | 4950 | 30.4419 | 0 | 0 | 0.01 | 2008-07-01 | 2099-07-01
|  | SA | New Thermal SA | OCGT_NSA | 1980 | 1980 | 11.3715 | 0.81174 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | SA | New Green SA | Small Hydro_SA | 100 | 100 | 35.3484 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | TAS | Aurora | Tamar Valley | 194 | 194 | 0 | 0.42825 | 7.5 | 0.03 | 2000-07-01 | 2099-07-01
|  | TAS | New Green TAS | Small Hydro_TAS | 100 | 100 | 35.3484 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | TAS | HydroTas | Bell Bay 3 | 105.3 | 105.3 | 0 | 0.70883 | 12.4138 | 0.03 | 2006-07-01 | 2099-07-01
|  | TAS | Existing Green | Existing Green TAS | 259 | 259 | 0 | 0 | NA | 0 | 2000-07-01 | 2099-07-01
|  | TAS | New Thermal TAS | CCGT_Tas | 1970 | 1970 | 17.5117 | 0.39531 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | TAS | Aurora | Tamar Valley OCGT | 73.125 | 73.125 | 0 | 0.70883 | 12.4138 | 0.03 | 2000-07-01 | 2099-07-01
|  | TAS | New Green TAS | Wind_TAS | 1980 | 1980 | 30.4419 | 0 | 0 | 0.01 | 2008-07-01 | 2099-07-01
|  | TAS | New Green TAS | Biomass_TAS | 0.94 | 0.94 | 63.8483 | 0 | 0 | 0.06 | 2008-07-01 | 2099-07-01
|  | TAS | New Thermal TAS | OCGT_Tas | 4950 | 4950 | 11.3715 | 0.6631 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | TAS | HydroTas | HydroTas | 2110 | 2110 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | VIC | AGL | Somerton GT | 156 | 128.7 | 0 | 0.8565 | 15 | 0.03 | 2002-07-01 | 2099-07-01
|  | VIC | Snowy | Valley Power GT | 325.92 | 261.9 | 0 | 0.8565 | 15 | 0.03 | 2002-07-01 | 2099-07-01
|  | VIC | Snowy | Laverton North GT | 331.5 | 292.5 | 0 | 0.67618 | 11.8421 | 0.03 | 2006-07-01 | 2099-07-01
|  | VIC | AGL | Southern Hydro | 336 | 336 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | VIC | Existing Green | Existing Green VIC | 598 | 598 | 0 | 0 | NA | 0 | 2000-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | OCGT_MEL | 1980 | 1980 | 11.3715 | 0.6631 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | VIC | New Green VIC | Geo - Hot Dry Rock_VIC | 500 | 500 | 63.3358 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | VIC | Babcock | Bairnsdale GT | 87.3 | 67.9 | 0 | 0.60459 | 10.5882 | 0.03 | 2000-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | CCGT_LV | 1083.5 | 1083.5 | 17.5117 | 0.39531 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | VIC | Loy Yang | Loy Yang A | 2065.7 | 1911 | 0 | 1.215 | 13.2353 | 0.09 | 1987-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | CCGT_CVIC | 1083.5 | 1083.5 | 17.5117 | 0.39531 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | VIC | Eraring | Hume | 58 | 58 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | VIC | New Green VIC | Biomass_VIC | 0.94 | 0.94 | 63.8483 | 0 | 0 | 0.06 | 2008-07-01 | 2099-07-01
|  | VIC | Snowy | Murray | 1500 | 1500 | 0 | 0 | 0 | 0 | 2000-07-01 | 2099-07-01
|  | VIC | Origin | Mortlake | 533.5 | 533.5 | 0 | 0.64237 | 11.25 | 0.03 | 2000-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | CCGT_NVIC | 1083.5 | 1083.5 | 17.5117 | 0.39531 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | OCGT_CVIC | 1980 | 1980 | 11.3715 | 0.6631 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | VIC | AGL | Bogong | 140 | 140 | 0 | 0 | 0 | 0 | 2009-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | CCGT_MEL | 1083.5 | 1083.5 | 17.5117 | 0.39531 | 6.92 | 0.02 | 2009-07-01 | 2099-07-01
|  | VIC | New Green VIC | Wind_VIC | 4950 | 4950 | 30.4419 | 0 | 0 | 0.01 | 2008-07-01 | 2099-07-01
|  | VIC | New Green VIC | Small Hydro_VIC | 100 | 100 | 35.3484 | 0 | 0 | 0 | 2008-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | SC Brown Coal_LV | 45250 | 45250 | 36.3412 | 1.0519 | 10.59 | 0.1 | 2013-07-01 | 2099-07-01
|  | VIC | TRU | Jeeralang A GT | 225.04 | 194 | 0 | 0.89764 | 15.7205 | 0.03 | 1979-07-01 | 2099-07-01
|  | VIC | Energy Brix | Energy Brix | 136 | 136 | 0 | 1.4895 | 15 | 0.15 | 1960-07-01 | 2099-07-01
|  | VIC | SECV | Anglesea | 141.3 | 142.2 | 0 | 1.2084 | 13.2353 | 0.1 | 1969-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | OCGT_NVIC | 1980 | 1980 | 11.3715 | 0.6631 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | VIC | IP | Hazelwood | 1440 | 1422 | 0 | 1.5267 | 16.3636 | 0.1 | 1971-07-01 | 2099-07-01
|  | VIC | TRU | Yallourn | 1354.657 | 1293.62 | 0 | 1.4216 | 15.3191 | 0.09 | 1982-07-01 | 2099-07-01
|  | VIC | New Thermal VIC | OCGT_LV | 1980 | 1980 | 11.3715 | 0.6631 | 11.61 | 0.01 | 2008-07-01 | 2099-07-01
|  | VIC | TRU | Newport | 484.5 | 451.25 | 0 | 0.6173 | 10.8108 | 0.05 | 1980-07-01 | 2099-07-01
|  | VIC | TRU | Jeeralang B GT | 247.35 | 209.52 | 0 | 0.89764 | 15.7205 | 0.03 | 1980-07-01 | 2099-07-01
|  | VIC | IP | Loy Yang B | 971.25 | 901.875 | 0 | 1.2424 | 13.5338 | 0.08 | 1996-07-01 | 2099-07-01

## SRMC by year
| Title | SRMC |  |  | v1.4
Description | SRMC by plant (source ACIL 2009, real 2009-10$/MWh, sent out)
| Name | 2011 | 2012 | 2013
| Mt Piper | 18.6273 | 18.4941 | 18.3708
| Munmorah | 21.4381 | 21.3253 | 21.1422
| Vales Pt | 18.8072 | 18.7091 | 18.5498
| Wallerawang | 20.666 | 20.5171 | 20.3792
| Eraring | 18.6266 | 18.5593 | 18.4468
| Bayswater | 13.6004 | 13.454 | 14.3396
| Hunter Valley GT | 395.3285 | 395.3285 | 395.3285
| Liddell | 14.3714 | 14.2159 | 15.1564
| Redbank | 13.5714 | 13.5412 | 13.5111
| Smithfield | 39.117 | 39.059 | 39.0014
| Tallawarra | 28.3925 | 28.3566 | 28.3209
| Callide C1 | 13.6671 | 13.6367 | 13.6064
| Callide C2 | 13.6671 | 13.6367 | 13.6064
| Callide B | 14.3231 | 14.2911 | 14.2592
| Kogan Ck | 8.4297 | 8.4122 | 8.3948
| Swanbank B | 27.0438 | 26.9807 | 26.9178
| Swanbank E | 27.3341 | 27.3626 | 27.3913
| Millmerran | 9.3322 | 9.3124 | 9.2926
| Roma GT | 65.943 | 60.0258 | 60.3075
| Barcaldine | 62.1942 | 61.9861 | 61.7789
| Collinsville | 28.5504 | 28.484 | 28.4178
| Gladstone | 17.1562 | 17.1173 | 17.0784
| Mt Stuart GT | 369.0513 | 369.0513 | 369.0513
| Oakey GT | 56.29 | 56.1905 | 56.0912
| Townsville | 36.716 | 36.6491 | 36.5826
| Mackay GT | 394.7656 | 394.7656 | 394.7656
| Stanwell | 14.9759 | 14.9422 | 14.9087
| Tarong North | 10.6504 | 10.6279 | 10.6055
| Tarong | 11.4141 | 11.3897 | 11.3655
| Braemar GT | 39.9626 | 39.9579 | 39.9532
| Condamine | 8.1417 | 8.1417 | 8.1417
| Hallett GT | 108.7006 | 109.0684 | 109.6448
| Angaston GT | 424.9988 | 424.9988 | 424.9988
| Northern | 16.9063 | 16.9063 | 16.9063
| Osborne | 40.4632 | 40.383 | 40.303
| Playford | 28.0447 | 28.0447 | 28.0447
| Ladbroke Grove GT | 64.0813 | 64.3158 | 64.6785
| Quarantine GT | 76.7771 | 76.977 | 77.3148
| Pelican Point | 30.8157 | 30.749 | 30.6824
| Dry Creek GT | 74.7653 | 74.6185 | 74.472
| Mintaro GT | 94.5454 | 94.8607 | 95.3548
| Port Lincoln GT | 424.9988 | 424.9988 | 424.9988
| Snuggery GT | 424.9988 | 424.9988 | 424.9988
| Torrens A | 54.8619 | 54.7438 | 54.626
| Torrens B | 50.654 | 50.5454 | 50.437
| Jeeralang A GT | 70.0012 | 69.9952 | 79.2364
| Jeeralang B GT | 70.0012 | 69.9952 | 79.2364
| Newport | 46.3465 | 46.3318 | 52.6763
| Somerton GT | 71.3347 | 71.3116 | 80.112
| Bairnsdale GT | 47.6999 | 47.6682 | 47.6367
| Loy Yang B | 6.1658 | 6.1658 | 6.1658
| Energy Brix | 10.0832 | 10.0832 | 10.0832
| Hazelwood | 2.55 | 2.55 | 2.55
| Loy Yang A | 2.2904 | 2.2904 | 2.2904
| Anglesea | 6.3699 | 6.3699 | 6.3699
| Laverton North GT | 56.552 | 56.5343 | 63.4824
| Valley Power GT | 67.6755 | 67.6703 | 76.4884
| Yallourn | 2.645 | 2.645 | 2.645
| Bell Bay 3 | 76.3883 | 76.6686 | 76.9501
| Braemar 2 | 42.596 | 42.596 | 42.596
| Uranquinty GT | 80.7466 | 81.1682 | 80.8309
| Darling Downs | 27.7724 | 27.7724 | 27.7724
| Yarwun | 37.783 | 37.594 | 37.4097
| Tamar Valley | 42.413 | 42.5824 | 42.7525
| Tamar Valley OCGT | 76.3883 | 76.6686 | 76.9501
| Mortlake | 64.5299 | 64.7847 | 65.1566
| Colongra | 89.8884 | 89.382 | 89.0269
| CCGT_NNSW | 30.8284 | 30.4111 | 30.5782
| CCGT_NCEN | 40.9486 | 39.9014 | 39.7158
| CCGT_SWNSW | 44.1102 | 43.5178 | 43.3163
| CCGT_CAN | 39.3037 | 38.0015 | 38.1289
| CCGT_NVIC | 39.5766 | 39.218 | 39.378
| CCGT_LV | 33.2166 | 32.7874 | 32.9475
| CCGT_MEL | 35.8007 | 35.4421 | 35.6022
| CCGT_CVIC | 33.9943 | 33.5082 | 33.7415
| CCGT_NQ | 39.5337 | 36.594 | 39.7714
| CCGT_CQ | 40.0294 | 36.3739 | 36.6302
| CCGT_SEQ | 34.0074 | 33.5277 | 33.6949
| CCGT_SWQ | 34.8473 | 30.7039 | 30.8696
| CCGT_NSA | 41.6777 | 40.9877 | 41.173
| CCGT_ADE | 40.1266 | 39.4744 | 39.6671
| CCGT_SESA | 37.3397 | 36.7661 | 36.9795
| CCGT_Tas | 39.0706 | 38.4846 | 38.6446
| OCGT_NNSW | 65.861 | 66.1928 | 66.5258
| OCGT_NCEN | 85.6269 | 85.0994 | 84.7295
| OCGT_SWNSW | 91.802 | 92.3038 | 91.9023
| OCGT_CAN | 82.4143 | 81.3143 | 81.568
| OCGT_NVIC | 82.9472 | 83.7378 | 84.0566
| OCGT_LV | 70.5254 | 70.9269 | 71.2458
| OCGT_MEL | 75.5724 | 76.2155 | 76.5344
| OCGT_CVIC | 72.0444 | 72.3628 | 72.8277
| OCGT_NQ | 82.8634 | 78.5103 | 84.8402
| OCGT_CQ | 83.8316 | 78.0719 | 78.5825
| OCGT_SEQ | 72.0699 | 72.4017 | 72.7347
| OCGT_SWQ | 73.7103 | 66.7761 | 67.1063
| OCGT_NSA | 87.051 | 87.2633 | 87.6325
| OCGT_ADE | 84.0215 | 84.2486 | 84.6325
| OCGT_SESA | 78.5783 | 78.8532 | 79.2782
| OCGT_Tas | 81.9591 | 82.2767 | 82.5956
| SC Black Coal_NCEN | 12.7739 | 12.6309 | 12.2146
| SC Black Coal_SWNSW | 10.7452 | 10.7452 | 10.5136
| SC Black Coal_NQ | 17.8129 | 17.8007 | 17.3851
| SC Black Coal_CQ | 13.7582 | 13.5648 | 13.0767
| SC Black Coal_SWQ | 14.3605 | 14.2653 | 13.8555
| USC_NCEN | 11.9699 | 11.5963 | 11.467
| USC_SWNSW | 10.0827 | 9.882 | 9.882
| USC_NQ | 16.6573 | 16.2961 | 16.285
| USC_CQ | 12.8856 | 12.4452 | 12.2703
| USC_SWQ | 13.4458 | 13.0821 | 12.996
| IGCC_NCEN | 15.3428 | 15.2033 | 14.8036
| IGCC_SWNSW | 13.3636 | 13.3636 | 13.143
| IGCC_NQ | 20.2589 | 20.247 | 19.851
| IGCC_CQ | 16.3032 | 16.1144 | 15.6451
| IGCC_SWQ | 16.8907 | 16.7979 | 16.4054
| SC Brown Coal_LV | 7.6469 | 7.6313 | 7.6157